SPECIFICATION

SMARTPOND INLET VALVE

Automated Stormwater Valve System

Components, Applications, and Function Specification

- Introduction

The following specifications describe the components, general functions, and applications of a SmartPOND Automated Stormwater Valve System.  The system functions as an electronically controlled and solar powered stormwater management device, providing precision detention and release capabilities as well as real-time in-field data.  Combining telemetry, solar power, an electronic actuator, and a web-based control interface with unique purpose-built hardware, the SmartPOND Inlet Valve enables managers to precisely control water retention and detention automatically or in real time. The robust construction and materials of the SmartPOND Inlet Valve are built to last in harsh environments, and the unique hardware enables ease of installation and operation for the owner.

- SmartPOND Valve Applications in Stormwater Management

The SmartPOND Inlet Valve is a device for active Stormwater management.  As opposed to passive devices such as floating skimmers or stationary weirs, active water management dramatically increases the efficiency and effectiveness of a detention or retention pond.  Where a passive stormwater detention system allows water to leave immediately upon collection, the SmartPOND Inlet Valve can detain newly caught stormwater and allow it to settle for a programmed period of time before automatically dewatering the impoundment completely.  For stormwater retention systems, it is possible to manage only a portion of the total water volume while maintaining a specified amount of capacity for additional water collection. Plug-and-play telemetry combined with modular and versatile hardware creates endless possibilities for stormwater managers to solve their water control challenges for nearly any system.

  - Pre-Programmed Control

Many functions can be user pre-programmed for automated cycling, leaving the valve to automatically receive commands based on environmental conditions, and respond as programmed. Environmental and other variables are all user-selectable for maximized versatility.

    - Batch Detention Function for Stormwater Quality

The SmartPOND Inlet Valve meets TCEQ Batch Detention specifications for a 91% Total Suspended Solid removal rate.  The function proceeds as follows: with the valve in the closed position and the impoundment dry, the system will stand by and wait for a water collection event.  At the first sign of water collection, the unit will begin a 12-hour detention timer.  At the end of the 12-hour detention period, the valve will open and release all of the water that has been collected.  After the water level drops to 0”, the valve will remain open for an additional 2 hours to facilitate final drainage, then return to the closed position to stand by for the next water collection event.  Outside of TCEQ requirements, these parameters are user selectable for automated hold and release functions for non-batch ponds.

  - Real Time Control

For real-time remote control, SmartPOND Inlet Valve comes standard with telemetry and access to the application available at no additional cost for one year.  This option allows for real time control of the valve position and the data that comes along with it.  With the real time control mode, the user may:

- Control the valve position, either open or close

- See the water level, temperature, and more

- Get maintenance alerts (low battery, valve failure, etc.)

- Maintain specified water level for retention ponds

- Upload photo of current site conditions

- View and export in-field data and site environmental history

- Components

The SmartPOND Inlet Valve is installed in the sump of the detention pond itself and configured to match the water quality elevations provided by the engineer. The standard system is based on a 60” maximum water surface elevation, and the modular hardware allows for extension of that elevation to whatever depth is necessary. For standard applications, the SmartPOND Inlet Valve system will ship and install in fully-assembled configuration. Once the hardware is fastened to the concrete pad and drainage pipe attached, the installer need only flip the “ON” switch to begin operation. For taller systems, the hardware may be assembled on site. In all configurations, the SmartPOND Inlet Valve system is a self-contained and standalone device in which all components necessary for operation are contained within the system. Solar power is standard, and utility power is optional but not required.

  - Hardware and Configuration

The standard SmartPOND Inlet Valve features a cast 6” butterfly valve contained within a double-screened perforated inlet riser. The inlet riser is 60” tall, but can manage water of any depth. The 6” drainage pipe attaches to the butterfly valve flange. An extended valve stem from the top of the butterfly valve rises to the control cabinet mounted above the screen. The cabinet houses all electronics and actuators, and is weather-sealed and lockable. Above the cabinet is the solar assembly.

The standard SmartPOND Inlet Valve features a 60” double screened perforated inlet riser, with the control cabinet mounted 12” above the top of the screen, and is intended to manage up to 60” of stormwater depth.

For deeper applications, the 12” extension holding the control cabinet above the inlet riser screen may be extended to whatever height is required to place the cabinet at least one foot above the maximum water surface elevation of the pond. The valve stem will also be extended as needed.

  - Electronics and Software Specifications

- Main Circuit Board

The main board of the SmartPOND Inlet Valve’s electronics box serves as the main connection terminal for all sensors and additional control boards

- Motor Control Circuit Board

The motor controller board of the SmartPOND Inlet Valve regulates the connection between the battery and the motor, and receives inputs from the main board to control motor direction.  It also powers the main board.

- Motor

The SmartPOND Inlet Valve’s motor operates on 12-volts and has two wires connecting to the motor controller board.  It is mounted on a bracket and connects directly to the valve with a valve stem.

- Battery

The SmartPOND Inlet Valve is powered by a 12-volt, 96 amp-hour gel battery.  Two terminals at the top connect the power wires to the motor controller board and the solar charge controller to the battery.

- Solar Panel

The solar panel assembly  is 12-volts, with 75-watt charging capability.  It connects to a solar charge controller which regulates the voltage and current before connecting with two wires to the positive and negative battery terminals.

- Utility Power (optional)

120 volt utility power supply may be routed to any SmartPOND product as the primary power source if specified in advance by the design engineer. A reserve battery wired to a power converter and trickle charger will be included in case of utility power failure.

- Sensors

  - Pressure Transducer

The water level sensor is a pressure transducer sensor capable of staying submerged in water indefinitely.  It mounts on the side of the SmartPOND Inlet Valve’s center spool.

  - Valve position sensor

Internal sensors to the actuator sense the valve position

- Real Time Control Interface (optional)

If the real time control option is selected, the SmartPOND Inlet Valve may be controlled in real time through the Autoflow control page.  Live and historical data from each unit may be viewed in the app, as well as alerts (detailed in section 5).

- Alerts

The SmartPOND Inlet Valve will indicate the following alerts by illuminating an exterior visible red LED light

- Low battery

- Loss of function

- Valve malfunction

If the telemetry option is selected, the unit will upload the above alerts to the Autoflow app and notify the operator.

- In Case of Failure

To bypass the SmartPOND Inlet Valve’s normal automated functions and control the valve position in case of failure:

- Open the control cabinet and lift the actuator disengage button to disconnect the actuator from the valve stem. Connect a wrench to the external shaft of the actuator and manually turn the valve.

  - Removal of motor and manual direct control

In case of a total electronic failure or motor failure, the motor and motor bracket can be uninstalled together by removing the two bolts at the bottom of the motor bracket.  With the motor and motor bracket removed, the output shaft on the butterfly valve can be manually controlled with a pipe wrench, or any other tool that can grip the valve stem or butterfly output shaft.

- Additional Components List

  - Perforated Riser

The SmartPOND Inlet Valve system includes a stackable perforated steel riser which installs on the inlet side of the outfall pipe within the impoundment area.  The perforated riser features an 8-inch steel perforated square tube within a 30” round steel mesh tube.  At the bottom of the 8-inch square tube, there is a female threaded fitting for a six inch PVC outfall pipe to connect.  The steel tube is perforated with 1-inch holes every 4” on center to the height of the impoundment.

Four bolts connect the maintenance door to the perforated inlet riser, and may be removed in case of needed maintenance.

- Maintenance

For details on operation and maintenance of the SmartPOND Inlet Valve, please see the Autoflow Operations & Maintenance guide.

- Installation

The SmartPOND Inlet Valve may be installed in a near-completely assembled configuration.  Only the solar panel should be removed during the installation process.

  - Structural Support

A 48”x48” concrete pad located at the sump of the detention basin is required. The SmartPOND Inlet Valve must be attached to the pad using 3/16” concrete fasteners at the bottom flange of the inlet riser screen.

9.2 Drainage Pipe

The 6” drainage pipe must connect to the outlet flange of the valve system such that the bottom of the pipe is at 0” elevation.

9.3 Overflow Bypass

The SmartPOND Inlet Valve system must be configured such that the bottom of the electronics control cabinet is at least 12” above the maximum water surface elevation of the pond’s overflow bypass.

9.4 Pond Vegetation and Slope Stabilization

Disturbed soils in the installation environment should be stabilized before activation or installation of the SmartPOND Inlet Valve system. If soils are not able to be stabilized before installation, a silt fence must be installed around the perforated inlet riser to prevent excess sediment buildup clogging the system. The silt fence must remain in place until all surfaces in the impoundment area, including the slopes, are vegetated or stabilized. Any sediment accumulation around the system must be excavated and relocated appropriately upon activation of the system.

- Important Safety Information and Warnings

- Always keep hands clear of the valve and motor when the unit is in operation.

  - Turn the power switch off when doing any electrical work.

  - Do not enter the water when the device is actively draining.

  - Always use proper PPE when servicing a valve beneath ground.

  - Follow all applicable OSHA guidelines.

- PRODUCTS

      - Acceptable SmartPOND Valve

“smartBatch” Automated Batch Detention System

“smartPOND” Automated Detention System

      - Acceptable System Supplier

Convergent Water Technologies, Inc.

(800) 711-5428

www.convergentwater.com

      - Authorized Value Added Reseller

Construction EcoServices

(832) 456-1000

# Quality Assurance and Performance Specifications

The quality of all system components and all other appurtenances and their assembly process shall be subject to inspection upon delivery of the system to the work site.

Installation is to be performed only by skilled work people with satisfactory record of performance on earthworks, pipe, welding, chamber, or pond/landfill construction projects of comparable size and quality.